**EXISTING SIGNALS (REMOVE & SALVAGE) NOTES:**

1. Remove and salvage existing poles, mast arms, luminaires, mounting assemblies, control cabinet and signal faces. The salvaged equipment shall be delivered to the ADOT Traffic Operations Supply Center, 2104 S. 22nd Avenue, Phoenix, Arizona. When it is ready for delivery the Contractor shall contact Glen Mara at 602-255-6675.
2. All existing pull boxes and foundations (not being used) shall be removed and disposed of by the Contractor as per Sections 202-3.04 and Sections 737-3.03 of the Standard Specifications and as directed by the Engineer.
3. Remove and dispose of the existing conduits and conductors not being used, per Section 737-3.03 of the Standard Specifications, or as directed by the Engineer.