## ADOT_Stormwater_0
ObjectID | GlobalID | Recorder | Survey Date | Which Survey Are You Conducting | This form is to document visits to Construction Sites | ADOT AZPDES Number | Other AZPDES Number | Date and Time of Incident Discovery | Date of the Beginning of ADOT Response | Date Incident Closed | Reporting Agency | Reporting Agency Point of Contact Name | Reporting Agency Point of Contact Email | Reporting Agency Point of Contact Phone | Name of Owner/Operator of Facility or Site of Violation | Incident Location | Did the Discharge Reach a Water of the U.S. or discharge from the MS4? | What Pollutants were/are in the discharge? | What is the Source of the Discharge? | Incident Description | What Corrective Method(s) were utilized | Follow-up Activities of the Incident | What follow-up activies were conducted? | Follow-up Referred? | To Whom was the Follow-up Referred? | Description of Enforcement Response Used | Additional Information and Notes | File Name and Pathway | CreationDate | Creator | EditDate | Editor | Identify if the incident occurred on Non-Indian Country or Indian Country | Lattitude | Longitude
|  | Madeleine Bryant | 2022-10-11 19:00 | IDDE Reporting |  | AZS0000018-2021 |  | 2022-08-22 19:00 | 2022-08-23 19:00 | 2022-08-31 19:00 | Concerned Citizen/ Camp Verde Public Works | Troy Odell- Camp Verde/ Lea Epperson- Citizen | troy.odell@campverde.az.gov, PublicWorks@campverde.az.gov/ southwestadvs@gmail.com | 602 616 4461- Citizen | ADOT | SR260 @ West Clear Creek Bridge | Yes | Trash and debris/ Littering | Unknown | From Citizen: I'm not sure if this is a Yavapai County or ADOT issue. I need guidance on this issue. I live on property adjacent to the West Clear Creek Bridge and the 260 Highway. I live in West Clear Creek, which is Camp Verde technically. I have owned this property for 2 years. The 2 years I have been here there is a constant problem with people coming to the creek under the bridge leaving so much garbage every time. The last 2 weeks there have been dirty diapers left at the creek. 2 weeks ago there was a box left full of dirty diapers, one of the dirty diapers was even in the creek. Is there any assistance your office can offer to help. Possible as ign put up that indicates littering is against the law, the code violation, possibly a camera installed. The people that are leaving the garbage are driving their car right up to the bank of the creek so if there is video footage then fines could be issued. Please help. There is constant littering at this spot on the creek. | ADOT WR contacted Camp Verde Maintenance to investigate and remediate. | No |  | Yes | Camp Verde Maintenace | None | https://drive.google.com/drive/folders/1oBOHzDMNMi_c5d_9Xb1HlgxajJF_qKou?usp=sharing |  | 2022-10-11 20:28 | CEC_ADOT | 2022-11-07 17:35 | kdickinsonCEC | Non-Indian Country | 34.5193 | -111.775
63 | aea7fd46-7afa-40f2-921b-daf3de61c404 | Madeleine Bryant | 2022-10-11 19:00 | IDDE Reporting |  | AZS0000018-2021 |  | 2022-10-03 19:00 | 2022-10-03 19:00 | 2022-10-06 19:00 | ADOT Central Admin Unit 5476 | Alexis Zaring | azaring@azdot.gov | 16029207392 | John and Vicki Satre | 4029 East Hopi Ave, Mesa, AZ | No | Chlorine (minimal levels, retained in Right of Way before entering the channel) | Residential Pool | "We were out spraying our haul roads today and noticed a homeowner pumping out his pool onto our haul road. I was able to make contact with him and I told him that what He was doing was illegal. He turned off the water coming out of the pipe He had hanging over our fence. The haul road was soaked to the point that we couldn't spray the area that was flooded. There is drainage damage on the haul road that has eroding the dirt at the canal wall" | Crew member made contact with homeowner and informed him the discharge was illegal. | Yes | The City of Mesa responded with code and pool requirements for the homeowner. | Yes | City of Mesa | Verbal | City of Mesa and ADOT will be monitoring the neighborhood. Mesa unit will repair erosion issues. |  | 2022-10-11 20:28 | CEC_ADOT | 2023-05-01 19:13 | CEC_ADOT | Non-Indian Country | 33.3882 | -111.7405
64 | 17490163-5653-4156-a854-d850a3430953 | Chuck Budinger | 2023-03-28 19:00 | IDDE Reporting |  | AZS0000018-2021 |  | 2023-03-22 19:00 | 2023-03-22 19:00 | 5/16/20223 | ADOT Northwest District | Chuck Budginer | cbudinger@azdot.gov | 928-777-5966 |  | US 93 NB, MP 60 | No | Tailings sludge | Cause is unknown | Release of tailings sludge into dry unnamed wash . Sludge flowed to ADOT ROW at MP 60 on US 93 NB. Cause is unknown. Suspect an uncontrolled release from the tailings pile that flowed approximately 2 miles | unknown at this time. Will discuss with mining company. | No |  | No |  |  | Affected materials at the site include: water/waterways and soil/exposed ground. Internal contacts include: ADOT Hazardous Materials Response Unit (HMRU), Environmental Planning HAZMAT District Environmental Coordinator, and Environmental Planning Water Resources |  | 2023-04-03 16:27 | kdickinsonCEC | 2023-04-03 16:27 | kdickinsonCEC | Non-Indian Country | 35.2924 | -114.1838
67 | 959f7de3-721a-4112-b99a-49a3d8488869 | David Mack | 2023-03-15 19:00 | IDDE Reporting |  | AZS0000018-2021 |  | 2023-03-14 19:00 | 2023-03-14 19:00 | 2023-03-15 19:00 | City of Phoenix | Andrea Cooper | andrea.cooper@phoenix.gov | 602-795-7221 | City of Phoenix | 1333 N 24th St, Phoenix, AZ | No | Sewage | Sanitary Sewer overflow | A sanitary sewer overflow occurred in the City of Phoenix on 3/14/2023 (3pm) at 1333 N. 24th Street, south of the apartment complex, due to a grease blockage in the collection system. Approximately 189 gallons of sewage overflowed from one manhole directly south into the open concrete ADOT drainage channel. | The spill was cleaned up immediately and crews rinsed the affected area with 1200 gallons of fresh water and vacuumed all residual near the manhole. | No |  | No |  | None |  |  | 2023-04-06 17:30 | CEC_ADOT | 2023-04-06 17:30 | CEC_ADOT | Non-Indian Country | 33.4626 | -112.03
68 | a01f055a-ce96-4e43-afd1-808ea7fae433 | David Mack | 2023-01-14 19:00 | IDDE Reporting |  | AZS0000018-2021 |  | 2023-01-14 19:00 | 2023-01-19 19:00 | 2023-01-20 19:00 | NORTHERN GILA COUNTY SANITARY DISTRICT - AMERICAN GULCH | GARRETT GOLDMAN | GGOLDMAN@GREENVALLEYWATER.ORG | 9284745257 | NORTHERN GILA COUNTY SANITARY DISTRICT - AMERICAN GULCH | 1005 S Beeline Hwy, Payson, AZ 85541 | Yes | Fats/Oils/Grease | Pipe G2554, between manholes 1612044 and 1612043 was obstructed. When removing the blockage with a hydro-cleaner, a significant amount of grease was caught in manhole 1612043, before the flow continued downstream. | GVW was not aware of any problems prior the SSO being reported by a customer. The customer at 1005 S Beeline Hwy called at approximately 7:45 am on 01/17/2023. The customer stated the manhole started overflowing on Friday. They called a plumber to the site on Monday due to toilets in at least 2 rooms not flushing. The plumber stated he called the Payson Police Department non-emergency number on Monday. The GVW on-call employee did not receive a call. GVW was closed on 01/16/2023 for MLK day | Sewer Flushing, Rodding, Blockage Debris Removal, GVW used a hydro-cleaner to unclog the affected gravity sewer pipe. A significant amount of grease was caught in manhole 1612043, before the flow continued downstream in the collection system. | No |  | No |  |  | American Gulch coordinated 34.230435, -111.326219 |  | 2023-04-06 17:48 | CEC_ADOT | 2023-04-06 17:48 | CEC_ADOT | Non-Indian Country | 34.2279 | -111.3283
69 | db74501e-2092-45cd-bf1b-97f261443c58 | David Mack | 2022-07-12 19:00 | IDDE Reporting |  | AZS0000018-2021 |  | 2022-07-12 19:00 | 2022-07-12 19:00 | 2022-07-15 19:00 | City of Phoenix | Luis Weisel | luis.weisel@phoenix.gov | 602-999-2181 | City of Phoenix | 6 N 31st Ave, Phoenix, AZ 85009 | Yes | Diesel fuel | Vehicle release. | We received a notification from our fire department regarding a diesel spill from a truck at 31st Ave and Lewis St. the fire department estimated between 60 to 70 gallons of diesel spilled into the street and some of the diesel entered a catch basin where the truck was parked. The Office of the Environmental Program contacted our emergency environmental clean-up company to assist with the cleanup efforts. | The fire department applied absorbent material to capture the spill and the company is cleaning the stormwater line now. We suspect some of the diesel entered the Papago Diversion Channel at 31st Ave but we couldn’t confirm since the outfall is located in the tunnel area. The company will continue to clean the affected area and clean as much as possible from the storm drain. | No |  | No |  |  |  | https://drive.google.com/drive/folders/1LF-rLt15rZjOt4wfUFcnm2_Bj4lp6Ux1?usp=share_link | 2023-04-06 18:29 | CEC_ADOT | 2023-04-06 18:29 | CEC_ADOT | Non-Indian Country | 33.4751 | -112.1257
70 | ab1607de-f904-4c01-bb64-4464837b9b3a | David Mack | 2023-04-09 19:00 | IDDE Reporting |  | AZS0000018-2021 |  | 2023-04-09 19:00 | 2023-04-10 19:00 | 2023-04-10 19:00 | City of Phoenix | Luis Weisel | luis.weisel@phoenix.gov | 602-495-3757 | City of Phoenix | 8225 W Westview DR. Phoenix, AZ |  | Sewage | Blockeage in City of Phoenix sewer lines. | Wastewater compliance received a notification regarding a Sanitary Sewer Overflow at 8225 W WESTVIEW DR. Approximately 110 gallons entered a catch basin that drains to the Papago Diversion Channel. The catch basing is about 2.3 Miles from the ADOT channel and is not expected to reach any outfalls. | Crews relieved the blockage to restore flow, rinsed the area with 500 gallons of fresh water, and vacuumed all residuals. Agency notification is not required. | No |  | No |  | None |  | https://drive.google.com/drive/folders/1O3AO5avKBDgsk9xYv9SbJfvwyeqIX2x1?usp=share_link | 2023-04-10 16:04 | CEC_ADOT | 2023-06-12 22:14 | CEC_ADOT | Non-Indian Country | 33.4965 | -112.2372
71 | efd93f64-e3a6-4484-a6ed-b385a13ebc58 | David Mack | 2023-05-02 19:00 | IDDE Reporting |  | AZS0000018-2021 |  | 2023-04-28 19:00 | 2023-05-09 19:00 | 2023-05-10 19:00 | Pima County DEQ | April Mattox | April.Mattox@pima.gov | 520-724-7322 | ADOT | I-10 and Drexel Road, Tucson AZ | No | Used motor oil | Wildcat disposal of used motor oil. | motorist appers to have wildcat dumped used motor oil on ADOT ROW. | ADOT went to the site and cleaned it up. | No |  | No |  |  |  | https://drive.google.com/drive/folders/1ca2YlepTwHXPfKhekNHUDMpC3poYezmu?usp=share_link | 2023-05-23 18:10 | CEC_ADOT | 2023-06-12 22:14 | CEC_ADOT | Non-Indian Country | 32.1489 | -110.8962
72 | 398794e8-d6a6-4cf8-bfe6-fd32940e6a31