## IDDE Activities-JL1'21-JU30'22
ADOT AZPDES Number | Date Incident Occurred | Date of the Beginning of ADOT Response | Date Incident Closed | Reporting Agency | Reporting Agency Point of Contact Name | Reporting Agency Point of Contact Email | Reporting Agency Point of Contact Phone | Name of Owner/Operator of Facility or Site of Violation | Incident Location | Latitude Location | Longitude Location | Did the Discharge Reach a Water of the U.S. or discharge from the MS4? | What Pollutants were/are in the discharge | What is the Source of the Discharge | Incident Description | What Corrective Method(s) were utilized | Follow-up Activities of the Incident | Description of Enforcement Response Used | Additional Information and Notes
AZS0000018-2021 | 2021-07-12 | 2021-08-17 | 2022-10-07 | ADOT Northwest District | Chuck Budinger | cbudinger@azdot.gov | 928-499-8660 | Private property owners within Academy Industrial Development/ PV grading permits | Intersection of Academy Drive and SR 69. |  |  | Yes | sediment | un-stabilized graded lots in an industrial park | Heavy rains caused severe erosion that washed sediment into the streets and storm drains of the industrial park. This is considered an illicit discharge to the Prescott Valley (PV) MS4. The sediment and stormwater then flowed into the ADOT ROW (MS4) clogging culverts and coating the intersection of Academy Blvd. and SR 69 with 3-4 inches of sediment. This was the illicit discharge to the ADOT MS4. | Business owners with stabilized lots, cleaned up the sediment after the storm with front end loaders and shovels. Most of the sediment and stormwater came from the exposed lots (lots without pavement, landscaping, vegetation or roofs). ADOT notified Prescott Valley code enforcement and engineering services of the stormwater damage to the ROW and asked for corrective action on un-stabilized lots. They said they had no authority to enforce the erosion control rules of the MS4. I shared the pertinent sections of their town code. They then met with the City Attorney who helped them develop the Notice of Violation Forms and how to follow up on inspections for enforcement. | Notices of Violation have been mailed out to the property owners on or around 9/3/2021. As of 9/17, town assisting property owners in writing corrective action plans. Until stabilization, PV will clean up the streets after future rain events. | NOV's and potential fines if no response from property owners, as per PV Stormwater Ordinances. Property owners responded and are in the process of writing corrective action plans for future stabilization.
AZS0000018-2021 | 2021-07-21 | 2021-07-21 | 2021-07-21 | ADOT | David Mack | dmack@azdot.gov | 602-376-7935 | IDDE Reporting Form | None |  |  | No | None | None | Updating the form to reflect Section 4.3 and 4.6 requirements and testing the form. | None | None | None | Updating the form to reflect Section 4.3 and 4.6 requirements and testing the form.
AZS0000018-2021 | 2021-07-28 | 2021-07-29 | 2021-08-12 | 5477 | Alexis Zaring | azaring@azdot.gov | 602-920-7392 | Residential | 11412 N 93rd Ave |  |  | No | Pool water- chlorine, bacteria | Residential Pool | Home owner had created a hole in ROW wall to discharge pool water through. Erosion of the pool water path did lead to the channel, but not confirmed when or how much reached the channel. | ADOT visited home and notified them that this was an illegal connection. | ADOT did the follow up inspection and found that the wall was patched. | Verbal
AZS0000018-2021 | 2021-08-02 | 2021-08-03 | 2021-08-03 | ADOT Hazmat | Travis Qualls | ​tqualls@azdot.gov | ​602-885-0266 | ADOT | I-10 MP258 @ Congress |  |  | No | Diesel Fluids | Commercial Vehicle was in an incident and released diesel fluids. | ​The CMV was involved in some type of incident which resulted in a release of approximately 200 gallons of diesel fuel on the roadway. An unknown amount of fuel entered into a storm drain. WATERWAY AFFECTED. The storm drain flows to the Santa Cruz river. ADOT was never notified by DPS. ADOT personnel were never on scene. The responsible party is unknown. The Tucson Fire Department along with the city of Tucson hired a HazMat contractor to perform the remediation. I spoke with that contractor. The only ADOT property affected is the storm drain. The outfall into the river is Pima County. The HazMat contractor has been in contact with them. The NRC report # is 1312654. There is no ADOT CAD call #. The HazMat report # is R21-00138. | Tucson Fide Department responded to the scene and applied control measures. | Tucson Fire is working with a remediation contractor on the spill. ADOT is working with TFD to find the responsible party. | None | ​NRC report # is 1312654, ​HazMat report # is R21-00138, City of Tucson Elizabeth Leibold was notified on 8/4/2021 of incident.
AZS0000018-2021 | 2021-08-13 | 2021-08-13 | 2021-08-16 | Holbrook Maintenance--DEC | William Bain | wbain@azdot.gov | 928-358-2591 | ADOT | Route 377 between milepost 25.75-326 |  |  | No | Paint/Stucco | Truck | Unknown Individual/s intentionally or unintentionally spilled or dumped 100+ five gallon buckets of paint along the ROW. Incident was reported to maintenance supervisor about 3:16 am that morning. | Buckets were removed from highway, paint was allowed to dry and was cleaned up. |  |  | Spillman number: T21025747; 100+ buckets were picked up from the ROW. Most of the buckets were hard and dry before disposal.
AZS0000018-2021 | 2021-09-23 | 2021-09-28 | 2022-01-24 | 5476 | Alexis Zaring | azaring@azdot.gov | 602-920-7392 | 5243 E Washington Street, Phoenix AZ | 5243 E Washington Street, Phoenix, AZ |  |  | Yes | Sediment, byproducts of granite countertops | Granite work | Continuous discharge from production processes in 8 different granite countertop facilities | In progress | Attachment | Attachment | Attachment
AZS0000018-2021 | 2021-10-29 | 2021-10-29 | 2021-11-19 | 5476 | Alexis Zaring | azaring@azdot.gov | 602-920-7392 | James Custer, New River Off Road ATV Rentals | 46202 N Black Canyon Hwy, New River, AZ 85087 |  |  | No | Sediment | ATV Wash water | Property installed a pipe into ADOT ROW to transfer wash water from ATV vehicles. | Owner was notified to remove the PVC pipe, or ADOT will. | Owner removed the pipe. | Verbal
AZS0000018-2021 | 2021-10-31 | 2021-11-01 | 2021-11-01 | City of Phoenix | Kathleen Malloy-Bradley | kathleen.malloy-bradley@phoenix.gov | 602-495-3757 | City of Phoenix | 21007 North 24th Avenue |  |  |  | Sanitary Sewer Overflow. Sanitary related materials and biologicals. | Sanitary Sewer Overflow | The City of Phoenix (COP) would like to make a courtesy notification for a sanitary sewer overflow that may have potentially reached an ADOT stormdrain system. On October 31, 2021 staff received notification of a sanitary sewer overflow at 21007 North 24th Avenue. Approximately 500 gallons of sewage overflowed from a manhole and into the City of Phoenix MS4 stormdrain near the southeast corner of 24th Avenue and Rose Garden Lane. It appears an ADOT stormdrain connects to our MS4 on the west side of 24th Avenue and discharges into a retention basin. It was observed in the field that no sewage reached the retention area so we are not certain how far along the sewage travelled in the stormdrain and if the ADOT stormdrain was definitely impacted. Crews were able to relieve the sewage blockage, vacuum all residual and rinse the area with 1000 gallons of fresh water on October 31. Please let me know if additional information is needed. | COP crews were able to relieve the sewage blockage, vacuum all residual and rinse the area with 1000 gallons of fresh water on October 31. Please let me know if additional information is needed. |  | None
AZS0000018-2021 | 2021-11-17 | 2021-11-18 | 2022-01-24 | 5476 | Alexis Zaring | azaring@azdot.gov | 602-920-7392 | Rhino Contracting LLC | 33.583652, -112.415465 |  |  | No | Sediment/rip-rap | Construction operations | A water basin overflowed into ADOT MS4 System. Channel was 20% full of water and sediment. Inlet structure was clogged with rip-rap. |  | Operator was notified of issue and asked to submit corrective actions and plan for cleaning infrastructure. | Verbal and Written
AZS0000018-2021 | 2021-12-07 |  | 2021-12-07 | ADOT | David Mack | dmack@azdot.gov | 602-376-7935 |  | Form was updated. | [9 empty] | This s notification that the form was updated on the last question. It was reworded to state the District is to maintain the records of the incident within their files and submit a link to those files. Environmental Planning files cannot accept any documentation.
AZS0000018-2021 | 2022-01-11 | 2022-01-11 | 2022-01-14 | City of Phoenix | Kathleen Malloy-Bradley | kathleen.malloy-bradley@phoenix.gov | 602-495-3757 | City of Phoenix | Northwest corner of 51st Avenue and the Carefree Highway (SR 74) | SR 74: 33.798235 SR 303: 33.781501 | SR 74: -112.174920 SR 303: -112.193798 | Yes | Unknown, potable water discharge | A hot tap to a water line. | On 1/11/2022 at 4 PM, a hot tap of a water line began leaking discharged approximately 4,000 gallons per minute of potable water into Dead Man Wash. Crews are currently working to resolve the issue. Phoenix contractor indicated there is an ADOT drainage structure just west of 51st Avenue, and water is currently flowing under the Carefree Highway (SR 74). Additionally, this release is flowing through Dead Man Wash and will cross under the Loop 303 east of Lake Pleasant Parkway. | City of Phoenix contractors have proposed a solution to correct the situation. This was a FYi to ADOT about the release to its MS4. | District has followed up with maintenance crews about he affected areas. | None | None
AZS0000018-2021 | 2022-01-11 | 2022-01-11 | 2022-01-11 | City of Glendale | Megan Sheldon | MSheldon@glendaleaz.com | 623-930-4115 | City of Glendale | Gila River Arena, 9400 W Maryland Avenue | SR 101: 33.530076 | SR 101: -112.268658 | No | Wastewater discharge | Wastewater system connected to the stormwater system. | On January 6th 2022, City of Glendale conduct inspections of the storm sewer system and noticed dry weather flows. An investigation identified cross-connection of the Arena's wastewater to stormwater and stormwater to wastewater piping. | City of Glendale is in the process of implementing corrective actions. A temporary bypass has been installed for wastewater and stormwater flows into the sanitary sewers before final competition around January 31, 2022. | None | None | None
AZS0000018-2021 | 2022-03-02 | 2022-03-02 | 2022-03-04 | City of Mesa, Water Resources Department | Jen Hetherington | Jen.Hetherington@mesaaz.gov | 480-644-3890 | City of Mesa Northwest Water Reclamation Plant | SR 202; MP 10-11 | 33.4341 | -111.8821 | No | Wastewater sludge spill | City of Mesa Northwest Water Reclamation Plant | the City of Mesa Northwest Water Reclamation Plant has had a sludge spill that has entered into the area between the plant and the 202 freeway. | Plant staff has created a berm so that it can’t discharge to the salt river. Staff will need to enter this area to try to remove as much liquid as possible. They then typically remove the top layer of soil and disinfect the area with hypochlorite. | None | None
AZS0000018-2021 | 2022-03-08 | 2022-03-08 | 2022-03-09 | City of Phoenix | Kathleen Malloy-Bradley | kathleen.malloy-bradley@phoenix.gov | 602-495-3757 | Private entity | 2520 West McClellan Boulevard, Phx | 33.5332 | -112.1127 | No | Sewage discharge | Private entity | Approximately 2,500 gallons of sewage overflowed from a private cleanout due to a debris blockage in a private lateral and entered into the City of Phoenix right-of-way. Most of this spill also entered an ADOT stormdrain near North Black Canyon Highway and West McLellan Boulevard. Highway traffic was not affected. | The spill was stopped by the property management company of the private entity responsible for the spill and an emergency plumber was contacted by the property management company. | City of Phoenix crews vacuumed all residual in the City right-of-way and rinsed the area with 4,000 gallons of potable water. Again, this was not a City caused sewage spill, however, we wanted to provide you a courtesy notification since the spill did enter ADOT infrastructure. Please let me know if you have any questions. | None | This is a courtesy notification from the City of Phoenix
AZS0000018-2021 | 2022-03-10 | 2022-03-10 | 2022-04-20 | City of Mesa | Ryan J. Cavalier | Ryan.Cavalier@mesaaz.gov> | 480-644-5165 | Private Residence | 2720 N. Horne, Mesa, AZ | 33.4652 | -111.8137 | No | Sewage | Residential RV illegal connection | Complaint to the city of Mesa about RV dumping their graywater tank across a private property line into the ADOT channel along the SR 202 ~MP 14 at N Horne. | ADOT submitted a notice of illegal connection letter to the residence on March 14, 2022. An ADOT follow-up inspection was conducted on March 21, 2022 and the connection had been removed. | ADOT Maintenance is to inspect the channel and appropriately remediate the affected area. | Written - Notice of Illegal Connection | ADOT's Central District DEC Alexas Zaring, is taking the lead in this issue.
AZS0000018-2021 | 2022-04-06 | 2022-04-06 | 2022-04-06 | City of Phoenix | Kathleen Malloy-Bradley | kathleen.malloy-bradley@phoenix.gov | 602-495-3757 | City of Phoenix | 1303 West Pecos Road, Phoenix, AZ | 33.2904 | -112.1341 | No | Sewage Overflow | Sewage overflowed from a force main | Approximately 9,000 gallons of sewage overflowed from a force main south of the Loop 202 into an open desert area. | City of Phoenix engineering staff is currently investigating the cause of the overflow. The spill was stopped and the affected area has been vacuumed and rinsed with 1,200 gallons of potable water. | None | None
AZS0000018-2021 | 2022-04-30 | 2022-04-30 | 2022-05-22 | SMF maintenance contractor (FLUOR) | Alexis Zaring | azaring@azdot.gov | 6029207392 | SRP | 202SMF and Vinyard Rd | 33.2304 | 112.1123 | No | Debris and sediment | SRP outfall | 10,000 gallons from an SRP irrigation ditch that was blocked overflowed into ADOT Right of Way. SRP responded and performed maintenance on the ditch. | Maintenance by third party. | None. | None
AZS0000018-2021 | 2022-05-02 | 2022-05-02 | 2022-06-06 | ADOT | David Mack | dmack@azdot.gov | 602-376-7935 | Tucson MS4 culvert on I -10 frontage road | I-10 Frontage Road between Grant and Miracle Mile Exits. MP 256 | 32.2553 | -110.9962 | No | Trash, debris, sediment | Transient populations using the area as a dump. | An inspection of the Tucson MS4 sampler revealed debris at the culvert inlet end. | ADOT is contracting with a remediation company to clean up the affected area.
AZS0000018-2021 | 2022-03-21 | 2022-03-21 | 2022-04-26 | I-10 Broadway Curve PPP | David Webb | DWebb@aztec.us | 602-391-5443 | ADOT/Pulice-FNF-Flatiron JV (I-10 Broadway Curve PPP) | Sr 143/4th St crossing over the Tempe Drain a.k.a San Fransisco Canal, Tempe Drainage District # 2 Ditch. | 33.4717 | -111.9782 | Yes | Concrete particles and saw cutting water | Saw cutting activities on the SR143 | Construction operations were saw cutting the spanning bridge deck over insufficient containment measures and allowed concrete and water from the operation discharge into the waterway. | The contractor notified ADOT and respected parties. | None | None
AZS0000018-2021 | 2022-05-02 | 2022-05-02 | 2022-05-02 | ADEQ | Leigh Padgitt | padgitt.leigh@azdeq.gov | 602-291-2710 | KOA, Williams AZ |  | 35.2587 | -112.1167 | No | Sewage | Sewage Overflow | ADEQ notified ADOT of a sewage overflow from a private business that may have impacted ADOT ROW. | None | None | None
AZS0000018-2021 | 2022-04-30 | 2022-05-22 | 2022-05-13 | C202 maintenance Contractor Fluor | Alexis Zaring | azaring@azdot.gov | 8018650319 | Peninsula-Horowitz Irrigation | Stormwater channel between Southern and Vinyard. | 33.2319 N | 112.1123 W | No |  | Sediment and Fertilizers | See Central IDDE Response Folder | Contractor is repairing erosion and property owner was contacted about concern. | No active connection has continued. | Verbal response and risk management to collect for damages.
AZS0000018-2021 | 2022-06-02 | 2022-06-02 |  | ADOT Water Resources | David Mack | Dmack@azdot.gov | 602-376-7935 | ADOT | SR179, | 34.8597 | -111.7627 | Yes | Possible grease trap pollutants | Potential illicit connection of grease trap | During routine dry weather screening an ADOT pipe was observed discharging a white liquid. A foul odor was also detected. A visual sample was collected for verification. We then proceeded to walk upstream of the discharge point and notices a storm drain with the same liquid and odor. Storm drain further upstream we’re not observed as containing the liquid or odor. |  | The ADOT district and city of Sedona was contacted concerning the incident.
AZS0000018-2021 | 2022-06-24 | 2022-06-24 |  | ADOT | David Mack | dmack@azdot.gov | 602-376-7935 | David Mack | B-19 and W. Gold Hill Rd/ W Mesa Verde Dr, Nogales, AZ | 31.3835 | -110.9473 | Yes | The discharge appears to be cooking oils and fats. | A grease trap/ restaurant in the area. | During the Dry Weather Screening inspection ADOT noticed a discharge and odor from our stormdrain. | We have contacted the city of Nogales and are currently working with them to resolve the issue.
Note on D14: Responder updated this value.
Note on Q14: Responder updated this value.
Note on R14: Responder updated this value.
Note on S14: Responder updated this value.
Note on K18: Responder updated this value.
Note on L18: Responder updated this value.